Lifetime Measurement

The activity (in decays per second) of some radioactive samples varies in time in a particularly simple way. If the activity (R) in decays per second of a sample is proportional to the amount of radioactive material (R  N), where N is the number of radioactive nuclei), then the activity must decrease in time exponentially:

R(t)=R0e−λt

In this equation  is the decay constant, commonly measured in s–1 or min–1. R0 is the activity at t = 0. The SI unit of activity is the becquerel (Bq), defined as one decay per second.

In the standard version of this lab, you would use a source called an isogenerator to produce a sample of radioactive barium. The isogenerator contains cesium-137, which decays to barium-137. The newly made barium nucleus is initially in a long-lived excited state, which eventually decays by emitting a gamma photon. The barium nucleus is then stable, and does not emit further radiation. Using a chemical separation process, the isogenerator allows you to remove a sample of barium from the cesium-barium mixture. Some of the barium you remove will still be in the excited state and will subsequently decay. It is the activity and lifetime of the excited barium you measure.

Because the isogenerator and the associated materials are expensive, this version of the lab uses an ArduinoTM programmed to simulate the situation. You can think of the Arduino as taking the place of the radioactive material and the radiation counter.

While the decay constant  is a measure of how rapidly a sample of radioactive nuclei will decay, the half-life of a radioactive species is also used to indicate the rate at which a sample will decay. A half-life is the time it takes for half of a sample to decay. That is equivalent to the time it takes for the activity to drop by one-half. Note that the half-life (often written as t1/2) is not the same as the decay constant , but they can be determined from one another.

objectives

- Use the simulated radiation source and radiation counter to measure the decay constant and half-life of a simulated radioactive source.

- Study the time-variation of radiation from the sample and determine if it is consistent with simple radioactive decay.

Materials

| LabQuest LabQuest App | Arduino/Vernier Interface Shield (to simulate the radioactive material and the radiation counter) |
| --- | --- |
| BTD-to-BTD cable | Power supply for Arduino |

preliminary questions

1.	Consider a candy jar, initially filled with 1000 candies. You walk past it once each hour. Since you don’t want anyone to notice that you’re taking candy, each time you take 10% of the candies remaining in the jar. Sketch a graph of the number of candies for a few hours.

2.	How would the graph change if instead of removing 10% of the candies, you removed 20%? Sketch your new graph.

Procedure

1.	Connect the Arduino/Vernier Interface Shield (to simulate the radioactive material and the radiation counter) DIG 2 of LabQuest. Use the Digital 2 port on the Arduino. The Arduino requires electrical power. You can either use an Arduino power supply (9 to 12V DC, round plug, center pin positive.) or connect a USB cable from the Arduino USB connector to a USB charger (of the type used for cell phone).

2.	This device does not auto-ID, so manually set it up:

- Choose Sensor Setup from the Sensors menu.

- Select Radiation Monitor from the DIG 2 sensor list.

- Select OK.

3.	Set up the data-collection mode.

- On the Meter screen, tap Duration.

- Change the data-collection duration to 30 minutes.

- Enter 30 as the number of samples/minute and select OK.

4.	Start the simulated radiation source by pressing the RESET button on the Arduino.

5.	Start data collection. The number of gamma photons that strike the detector will be counted during the 30-minute data-collection period.

6.	As data collection continues a graph will be updated. When collection is complete, a final graph of radiation vs. time will appear.

data table

| fit parameters for Y = A exp ( – B*X ) + C |  |
| --- | --- |
| A |  |
| B |  |
| C |  |
|  (min–1) |  |
| t1/2 (min) |  |

Analysis

1.	Inspect your graph. Does the count rate decrease in time? Is the decrease consistent with an activity proportional to the amount of radioactive material remaining?

2.	Compare your graph to the graphs you sketched in the Preliminary Questions. How are they different? How are they similar? Why are they similar?

3.	Fit an exponential function to the first fifteen minutes of your data.

- Tap and drag from the first point across the graph to the data point that was collected at 15 minutes.

- Choose Curve Fit from the Analyze menu.

- Select Natural Exponent as the Fit Equation.

- Record the fit parameters A, B, and C in your data table.

- Select OK view the fitted curve with your data.

5.	Print or sketch your graph.

6.	From the definition of half-life, determine the relationship between half-life (t1/2, measured in minutes) and decay constant (, measured in min-1). Hint: After a time of one half-life has elapsed, the activity of a sample is one-half of the original activity.

7.	From the fit parameters, determine the decay constant  and then the half-life t1/2. Record the values in your data table.

8.	What fraction of the initial activity of your sample would remain after 25 minutes?

Extensions

1.	How would a graph of the log of the count rate vs. time appear? Using LabQuest, Logger Pro, or a spreadsheet, make such a graph. Interpret the slope of the line if the data follow a line. Will correcting for the background count rate affect your graph?

2.	Repeat your experiment. Note that this simulation randomly selects one of four isotopes to simulate, so you may, or may, not get similar results.

3.	Gather together all the data collected by all lab groups doing this simulation and see if you can determine the half lives of all four simulated isotopes.