- Isolating the Enantiomers of 
1-Phenylethylamine by Fractional Crystalization

Required vernier skills

In order for student success in this experiment, it is expected that students know how to perform data collection and analysis using the Polarimeter. This is addressed in the user guide.

Instructor notes

1.	If using computers, the Polarimeter requires Logger Pro version 3.8.4.2 or newer. LabQuest users require LabQuest App version 1.6 or newer. An update can be downloaded from the Vernier web site.

2.	If you are using a LabPro interface, turn off Live Readouts under the Experiment menu prior to starting data collection. This must be done each time a new session is started. Note: This requirement should go away in Logger Pro 3.8.5, available in April 2012.

3.	The Vernier Polarimeter has two cables. One is a BTA connector that should be plugged into CH1 of your interface and one is a BTD connector that should be plugged into DIG1 of your interface. Both connections are required for data collection.

4.	After connecting the Polarimeter to a Vernier interface, open the data-collection software. If using Logger Pro, an experiment file will appear after a few seconds that has a graph of Illumination on the y-axis and Angle on the x-axis. If this does not occur, choose New from the File menu.

5.	There are several ways to locate the angle at which the maximum illumination occurs. This experiment suggests the student use a Gaussian fit.

Figure 1  Selection for fits

Statistics: To simply get the angle with the highest illumination, highlight the peak of interest in Logger Pro or LabQuest App, as shown in Figure 1. Choose Statistics from the Analyze menu. Record the angle value where the illumination is at a maximum, as presented in the box. This method is the fastest and will result in reproducibility of the angle of rotation measurement of ±2.0°.

- Gaussian: To improve your accuracy with a better fit, highlight the peak of interest using Logger Pro or LabQuest App, as shown in Figure 1. Then, choose Curve Fit from the Analyze menu. From the list of available Equations, select Gaussian. Select Try Fit in Logger Pro; in LabQuest App, the fit will run automatically. The B coefficient presented represents the angle at maximum illumination. This method will result in reproducibility of the angle of rotation measurement of ±0.3°. The data are not a true Gaussian, but the ease and accuracy of this methodology make it a good option. For best results, be consistent in the way you select your peaks.

- Cosine Squared: To incorporate all of your data into the fit, you can fit the data to its true waveform, a cosine squared, in either Logger Pro or LabQuest App. Choose Curve Fit from the Analyze menu. From the list of available General Equations, select Cosine Squared. Select Try Fit in Logger Pro; in LabQuest App, the fit will run automatically. In this fit, the x-value corresponding to the maximum y-value is obtained from the negative of the phase shift parameter, –C. This is a nonlinear fit which undergoes numerous iterations and has the possibility of no convergence, which will result in an unreasonable answer. With all nonlinear fits, it is important to make sure the resulting value is reasonable based on the data presented in the graph. This method is the most time consuming; however, it will result in reproducibility of the angle of rotation measurement of ±0.1°.

6.	If a LabPro interface is being used, allow a few seconds at both the beginning and ending of the 15 second data-collection period without moving the analyzer. Typically, a warning “Waiting for data…” will appear when data collection has been initiated; wait until this message has disappeared before rotating the analyzer. It may be helpful to extend the data collection time to ensure students do not continue to rotate the analyzer after data collection has ended.

LabPro users have these extended instructions because the optical encoder that tells Logger Pro what angle the analyzer is sitting on does not continuously collect data on the LabPro like it does on the LabQuest and LabQuest Mini interfaces.

7.	Due to the nature of light transmission, it is important that the sample be transparent and homogeneous. The sample can have a moderate amount of color but make sure it is not too dark to ensure that light will still pass through it onto the detector.

HAZARD ALERTS

l-tartaric acid: May be harmful if inhaled, absorbed through skin or swallowed. Causes eye irritation. NFPA Rating: Health hazard2, Fire1, Reactivity hazard0.

1-phenylethylamine: May be harmful if inhaled. Toxic if absorbed through skin. Harmful if swallowed. Causes eye burns. NFPA Rating: Health hazard3, Fire2, Reactivity hazard0.

methanol: Fire risk (flash point 11.0°C). Toxic if inhaled. Causes respiratory tract irritation. Toxic if absorbed through skin. Causes skin irritation. Causes eye irritation. Toxic if swallowed. NFPA Rating: Health hazard2, Fire3, Reactivity hazard0.

dichloromethane: May be harmful if inhaled. Causes skin irritation. Harmful if swallowed. Causes eye irritation. NFPA Rating: Health hazard2, Fire0, Reactivity hazard0.

sodium hydroxide: May be harmful if inhaled, absorbed through skin, or swallowed. Causes severe eye burns. NFPA Rating: Health hazard3, Fire0, Reactivity hazard0.

sodium sulfate: May cause respiratory tract irritation. Skin and eye irritant. Moderately toxic by ingestion. NFPA Rating: Health hazard1, Fire0, Reactivity hazard0.

The hazard information reference is: 
Sigma-Aldrich Co., 1-800-325-3010, www.sigmaaldrich.com/safety-center/msds-search.html

COMPOUND INFORMATION

| Compound | Chemical formula | Molar mass (g/moL) | Specific rotation (°) | Density (g/mL) |
| --- | --- | --- | --- | --- |
| Racemic 1-phenylethylamine | C6H5CH(CH3)NH2 | 121.18 | 0 | 0.94 |
| S-(–)-phenylethylamine | C6H5CH(CH3)NH2 | 121.18 | –39 | 0.94 |
| R-(+)-phenylethylamine | C6H5CH(CH3)NH2 | 121.18 | +39 | 0.94 |

Sample DATA

Part I  Isolation of 1-phenylethylamine

| Weight of starting material (g) | 6.382 |
| --- | --- |
| Weight of product A (g) | 1.217 |

Part II  Measuring the Optical Rotation

Angleblank (°) = 115.3

|  | Starting material | Product |
| --- | --- | --- |
| Height (cm) | 10.0 | 3.0 |
| Concentration (g/mL) | 0.08 | 0.17 |
| Anglesample (°) | 115.5 | 114.0 |
| Angle of rotation, α (°) = Anglesample – Angleblank | 0.2 | -1.3 |

answers to data analysis questions

1.	1.217g6.382g×100=19.1%

2.	As a racemic mixture, it should be 0.0° which is confirmed using polarimetry as the Angle reading is not statistically significant.

3.	The product has a negative optical rotation, therefore it is S-(–)-1-phenylethylamine.

4.

αtheoretical=(−39°)(0.17g/mL)(0.30dm)=−2.0αobserved=−1.3αobservedαtheoretical×100=65%

Sample Graphs

Optical rotation data for enantiomers of 1-phenylethylamine