Synthesizing Ethyl Acetate 
by Fischer Esterification

Esters compose an important class of organic compounds. Esters often have a pleasant scent and are found in natural fragrances. Esters can be prepared synthetically for use in foods, flavorings, and perfumes. Ethyl acetate is often used as a primary solvent in non-acetone fingernail polish remover.

Figure 1  The synthesis of ethyl acetate

The esterification process produces esters through a condensation reaction. Condensation reactions have water as one of the products. The starting compounds for esters are an alcohol and an acid (either an organic or an inorganic acid). A catalyst, such as concentrated acid or an ion-exchange resin, is added to accelerate the reaction. This reaction will not go to completion, but instead reaches equilibrium after a given amount of time. Using Le Chatelier’s Principle, the equilibrium can be shifted toward the product by adding more reactants or removing products.

Although the esterification reaction produces water as a product, the mechanism is not an acid-base neutralization reaction. The esters are named as salts of the acids prefaced with the name of the alcohol. Examples are shown in the chart below.

| Alcohol | Acid | Ester | Odor |
| --- | --- | --- | --- |
| methyl | acetic | methyl acetate | sweet |
| ethyl | acetic | ethyl acetate | fruity |
| isoamyl | acetic | isoamyl acetate | banana |
| isoamyl | butyric | isoamyl butyrate | pear |

In this experiment you will conduct the reaction between ethyl alcohol and acetic acid. You will use a Vernier Mini GC to follow and confirm the production of the ester, ethyl acetate.

OBJECTIVES

In this experiment, you will

- Conduct an esterification reaction to produce ethyl acetate.

- Measure and analyze the GC retention times of the reactants and products involved in synthesizing ethyl acetate.

- Measure and analyze the GC retention times of the reaction mixture to confirm the production of ethyl acetate.

MATERIALS

| LabQuest or computer | glacial acetic acid |
| --- | --- |
| LabQuest App or Logger Pro | ethanol, denatured |
| Vernier Mini GC | ethyl acetate |
| Temperature Probe | Dowex 502 ion exchange resin |
| 1 L glass syringe | acetone |
| plastic Beral pipets | Kimwipes® or paper towels |
| three test tubes, 25200 mm | Parafilm® or cork stoppers for test tubes |
| test tube rack | hot plate |
| test tube clamp | ice bath |
| two 250 mL beakers |  |

PROCEDURE

Part I  Determine the GC Retention Times for the Individual Reactants and Products

1.	Obtain and wear goggles. Protect your arms and hands by wearing a long-sleeve lab coat and gloves. Conduct this reaction in a fume hood or a well-ventilated room.

2.	Obtain a glass syringe and a set of vials of ethanol, glacial acetic acid, and ethyl acetate. CAUTION: Handle the glacial acetic acid with care. It can cause painful burns if it comes in contact with the skin.

3.	Prepare the Vernier Mini GC for data collection.

- Turn on the Mini GC.

- Connect the Mini GC to the USB port on your computer or LabQuest.

- Start the data-collection program, and then choose New from the File menu.

- To bring up the Temperature-Pressure profile, tap ► in LabQuest or click Collect in Logger Pro.

- Set the Temperature-Pressure values to:

| Start temperature | 35C |
| --- | --- |
| Hold time | 1 min |
| Ramp rate | 5C/min |
| Final temperature | 45C |
| Hold time | 5 min |
| Total length | 8.0 min |
| Pressure | 3.5 kPa |

- Select Done to initiate the Mini GC warm up. When the Mini GC is ready for injection in Step 6, the message will read, “Inject and select Collect simultaneously”, and the LED will turn to green. Continue with Step 4 during warm up.

4.	Follow the steps below to clean and flush the syringe with ethanol. Important: The glass syringe is fragile. Be careful not to bend the needle or bend the plunger. Never pull the plunger back more than 50% of its total volume. Be careful not to bend the plunger as you press it down.

- Depress the plunger fully.

- Submerge the tip of the syringe needle into the vial of ethanol.

- Pull back the plunger to fill the barrel about 1/3 full of ethanol. Examine the barrel of the syringe and estimate the amount of ethanol in the barrel.

- Expel the liquid onto a Kimwipe or a paper towel.

- Repeat Steps a–d at least two times, until you are comfortable pulling up a liquid into the syringe and measuring the volume in the syringe barrel. Use a Kimwipe or a paper towel to carefully pat around the tip of the syringe needle.

5.	Collect a volume of ethanol for injection.

- Submerge the needle tip into the vial of ethanol one last time.

- Draw up 0.1 L of liquid. It is not critical that the volume be exactly 0.1 L; a tiny bit more or less volume is acceptable.

- After collecting your sample, gently wipe the needle, from barrel to tip, with a Kimwipe.

6.	Prepare for injection and the start of data collection.

- The Mini GC should now have reached the correct start temperature and pressure, and the LED should be green.

To insert the needle of the syringe into the injection port of the Mini GC,

Figure 2

hold the syringe with one hand and steady the needle with your other hand, as shown in Figure 2. Insert the needle into the injection port until the needle stop is fully seated. If the needle sticks, rotate it slightly while inserting. Do not move the plunger yet.

- Simultaneously, depress the syringe plunger and click Collect to begin data collection. Pull the needle out of the injection port immediately.

7.	While the data collection proceeds, repeat Step 4 and use ethyl acetate to thoroughly clean the syringe and needle. It may take three or more flushes to feel the syringe plunger move smoothly again, which is your indicator that the syringe and needle are both suitably clean.

8.	Data collection will end after eight minutes.

9.	Analyze your chromatogram.

- Choose Peak Integration from the Analyze menu.

- Select the peak. To do this, drag from a little before the peak to a point far enough to the right so that the entire peak is included. Choose Add.

- Record the retention time and peak area in your data table.

- Click Cancel to return to the graph.

10.	Label and store your data.

- In LabQuest App, tap the Table tab. Highlight the heading, Run 1, with your stylus, and replace it with the name of your compound. Tap the Graph tab to return to the graph. Tap the File Cabinet icon to store the run.

- In Logger Pro, double-click Latest, which is the title of your run of data in the table, to the left of the graph. In the Data Set Options dialog box, type in the name of your compound. Click OK. Choose Store Latest Run from the Experiment menu to store your chromatogram.

11.	Test the ethyl acetate sample.

- Click Collect in Logger Pro, or tap ► in LabQuest, to bring up the Temperature-Pressure profile. This profile will be the same as for your previous run. If you are satisfied with these values, click Done.

- While the Mini GC adjusts to its Temperature-Pressure profile, repeat Step 5 with the ethyl acetate sample.

- After the Mini GC is ready, repeat Steps 6–10.

12.	Repeat Step 11 for the glacial acetic acid sample. CAUTION: Handle the glacial acetic acid with care. It can cause painful burns if it comes in contact with the skin.

Part II  Esterification Reaction

13.	Place the hotplate in a hood. Prepare a water bath by pouring approximately 120 mL of water into a 250 mL beaker and place it on the hotplate. Use a temperature probe or thermometer to monitor the temperature of the water bath. Turn on the hot plate and warm the water temperature to between 65–70C. Adjust the hot plate until a constant temperature of 
65–70C is observed for 10 minutes.

14.	Add ice and cold water to a second 250 mL beaker. This will be the quenching bath. Place this beaker near the hot water bath.

15.	Place three test tubes in a rack. Label the test tubes 1, 2¸ and 3. Use a spatula to place a small amount of Dowex ion-exchange resin into each test tube. Add the resin to barely cover the bottom of the test tube. The exact mass of resin is not important.

16.	Use separate plastic Beral pipettes to add ~1 mL (25 drops) of glacial acetic acid and ethanol to each test tube. Use a small square of Parafilm or a cork stopper to seal each test tube. Make a pin hole in the Parafilm, or fit the cork stopper loosely on the test tube, for a pressure release.

17.	Carefully transfer the three test tubes, at the same time, to the hot water bath on the hot plate. Important: Start timing the reaction; you will be removing the test tubes, one at a time, at 20 minute intervals.

18.	Monitor the water temperature throughout the experiment and make sure it is maintained at a constant temperature of 65–70C.

19.	At the end of twenty minutes, remove test tube 1 from the hot water bath and place it in the cold water bath for two minutes to quench the reaction.

20.	Repeat Step 11 to inject a 0.2 L sample from test tube 1. Important: The chromatogram for this sample will contain more than one peak. Record the retention time and peak area for each peak and write down this information in your data table.

21.	After 40 minutes, remove test tube 2 from the hot plate and place it in the cold water bath for two minutes to quench the reaction. Repeat Step 11 to inject a 0.2 L sample from test tube 2.

22.	After 60 minutes, remove test tube 3 from the hot plate and place it in the cold water bath for two minutes. Repeat Step 11 to inject a 0.2 L sample from test tube 3.

23.	After you have completed testing all three samples, save your file for use at a later time. Save the file as directed by your instructor.

24.	Before storing the syringe, flush and clean it with ethanol.

25.	Turn off the Mini GC. Keep your test results open in Logger Pro or the LabQuest App; you will need to refer to the various chromatograms to answer the Data Analysis questions.

DATA TABLE

Part I

| Compound | Retention time (min) | Peak area |
| --- | --- | --- |
| ethanol |  |  |
| acetic acid |  |  |
| ethyl acetate |  |  |

Part II

| Sample | Retention time (min) | Peak area | Identity |
| --- | --- | --- | --- |
| Test tube 1, peak 1 |  |  |  |
| Test tube 1, peak 2 |  |  |  |
| Test tube 1, peak 3 |  |  |  |
| Test tube 2, peak 1 |  |  |  |
| Test tube 2, peak 2 |  |  |  |
| Test tube 2, peak 3 |  |  |  |
| Test tube 3, peak 1 |  |  |  |
| Test tube 3, peak 2 |  |  |  |
| Test tube 3, peak 3 |  |  |  |

DATA ANALYSIS

1.	Did the reaction between acetic acid and ethanol produce ethyl acetate? Explain how you used chromatographic data to analyze the esterification reaction.

2.	Did the GC test results after 20, 40, and 60 minutes show significant differences in the progress of the reaction? Support your answer with data.

3.	Based on your test results, predict the yield of ethyl acetate after an 80 minute reaction time. Explain the rationale for your answer.

4.	Suggest factors that would cause a low yield of the ester in the reaction.