Household Acids and Bases with the Go Wireless pH

Many common household solutions contain acids and bases. Acid-base indicators, such as litmus and red cabbage juice, turn different colors in acidic and basic solutions. They can, therefore, be used to show if a solution is acidic or basic. An acid turns blue litmus paper red, and a base turns red litmus paper blue. The acidity of a solution can be expressed using the pH scale. Acidic solutions have pH values less than 7, basic solutions have pH values greater than 7, and neutral solutions have pH equal to 7.

OBJECTIVES

In this experiment, you will

- Test household solutions with litmus paper.

- Test household solutions using red-cabbage juice indicator.

- Use a Go Wireless pH to determine the pH values of household solutions.

- Classify household substances as acids or bases.

- Determine the different red cabbage juice indicator colors over the entire pH range.

- Use red cabbage juice indicator to test other household substances.

MATERIALS

| Bluetooth® Smart device (such as LabQuest 2 or iPad®) | ring stand or magnetic stirrer |
| --- | --- |
| Data-collection app | utility clamp or electrode support |
| Go Wireless pH | red and blue litmus paper |
| wash bottle filled with distilled water | paper towel |
| 250 mL beaker | stirring rod |
| 7 small test tubes | red cabbage juice |
| test-tube rack | temporary storage solution |
| household solutions |  |

Figure 1

PROCEDURE

1.	Obtain and wear goggles.

Part I  Litmus Tests

2.	Label 7 test tubes with the numbers 1 to 7 and place them in a test-tube rack.

3.	Measure 3 mL of vinegar into test tube #1. Refer to the data table and fill each of the test tubes 2–7 to about the same level with its solution. WARNING: Handle the ammonia-based cleaners with care. Avoid inhaling their vapors. Avoid contacting them with your skin and clothing.

4.	Use a stirring rod to transfer one drop of vinegar to a small piece of blue litmus paper on a paper towel. Transfer one drop to a piece of red litmus paper on a paper towel. Record the results.

5.	Test solutions 2–7 using the same procedure. Be sure to clean and dry the stirring rod each time.

Part II  Red Cabbage Juice Indicator

6.	After you have finished the Part I litmus tests, add 3 mL of red cabbage juice indicator to each of the 7 test tubes. Record your observations and then dispose of the test tube contents as directed by your teacher.

Part III  pH Tests

7.	Prepare the Go Wireless pH for data collection.

- Ensure that the BNC connection between the Go Wireless Electrode Amplifier and the pH Electrode is secure.

- Press the power button on the Go Wireless Electrode Amplifier to turn it on. The LED on the sensor will flash red.

- Launch the data-collection app.

- Choose your Go Wireless pH from the list of available sensors.

- LabQuest 2: on the Meter screen, choose Go Wireless Setup from the Sensors menu.

- Graphical Analysis app: tap Create Experiment, then choose Wireless Sensors from the Select Source list. Select your Go Wireless pH from the list of available sensors.

- When the sensor is paired with the software, the sensor LED will flash green.

8.	Prepare the electrode for data collection.

- Remove the Go Wireless pH from the sensor storage solution bottle by unscrewing the lid. Carefully remove the bottle, leaving the o-ring and cap on the sensor body.

- Rinse the tip of the sensor with distilled water and place the sensor tip into a beaker containing sensor soaking solution. Use a utility clamp to fasten the Go Wireless pH to a ring stand, as shown in Figure 1.

9.	Raise the Go Wireless pH from the sensor soaking solution and set the solution aside. Use a wash bottle filled with distilled water to thoroughly rinse the tip of the Go Wireless pH. Catch the rinse water in a 250 mL beaker.

10.	Obtain one of the household cleaning solutions in a small container supplied by your teacher. Raise the solution to the pH Electrode and swirl the solution about the sensor. When the pH reading stabilizes, record the pH value in your data table.

11.	Rinse the pH Electrode with distilled water before reusing it.

12.	Repeat Steps 10 and 11 to determine the pH of the remaining solutions provided by your instructor.

13.	When you are finished, rinse the sensor with distilled water and return it to the sensor soaking solution.

DATA AND OBSERVATIONS

| Test Tube | Solution | Blue litmus | Red litmus | Red cabbage juice | pH |
| --- | --- | --- | --- | --- | --- |
| 1 | Vinegar |  |  |  |  |
| 2 | Ammonia |  |  |  |  |
| 3 | Lemon juice |  |  |  |  |
| 4 | Soda pop |  |  |  |  |
| 5 | Detergent |  |  |  |  |
| 6 | Baking soda |  |  |  |  |

PROCESSING THE DATA

1.	Which of the household solutions tested are acids? How can you tell?

2.	Which of the solutions are bases? How can you tell?

3.	What color(s) is red cabbage juice indicator in acids? In bases?

4.	Can red cabbage juice indicator be used to determine the strength of acids and bases? Explain.

EXTENSIONS

1.	Test other household substances to determine if they are acidic or basic.

2.	Test your answer to Question 4 by adding red cabbage juice indicator to an array of colorless solutions with known pH values. Solutions with pH 2, 4, 6, 8, 10, and 12 might be used. Show the results to the class.